POST-EARTHQUAKE INSPECTION CHECKLIST

VAULTS

Vault No.:

Location of Vault (County):

Earthquake date:                                 Magnitude:                               Instrumental Intensity at Vault:

Date:

Weather:

Inspected by (Print Name):

OBSERVATIONS, RECOMMENDATIONS AND/OR ACTIONS TAKEN

| ☐ | No Visible Damage |  |
| --- | --- | --- |
| ☐ | Minor Damage |  |
| ☐ | Major Damage |  |

| VISUAL INSPECTION |
| --- |
| Item |  | Description of damage |
| Check for any visible cracks, corrosion or damage on the walls and ceilings of the vault | Y ☐ / N ☐ |  |
| Check for any visible leakage, dampness or moisture in the vault | Y ☐ / N ☐ |  |
| Check for any signs of rust or corrosion on the metal components of the vault | Y ☐ / N ☐ |  |

| ELECTRICAL SYSTEMS |
| --- |
| Item |  | Description of damage |
| Check for proper functioning of the lighting system in the vault | Y ☐ / N ☐ |  |
| Check the condition of electrical equipment, including transformers and switchgear | Y ☐ / N ☐ |  |
| Check for any exposed or damaged electrical wires or cables | Y ☐ / N ☐ |  |

| STRUCTURAL INPSECTIONS |
| --- |
| Item |  | Description of damage |
| Check for any signs of settlement, subsidence, or movement of the vault | Y ☐ / N ☐ |  |
| Check for any deformations or bulges in the walls or ceiling of the vault | Y ☐ / N ☐ |  |
| Check for any cracks or gaps between the walls and floor of the vault | Y ☐ / N ☐ |  |
| Check for any damage to the anchor bolts or rebar | Y ☐ / N ☐ |  |

| VENTILATION AND AIR QUALITY |
| --- |
| Item |  | Description of damage |
| Check the condition of the ventilation system in the vault | Y ☐ / N ☐ |  |
| Check the quality of air inside the vault | Y ☐ / N ☐ |  |
| Check for any signs of mold, mildew or fungi growth | Y ☐ / N ☐ |  |
| Check for any sources of odors, including gas leaks or other hazardous materials | Y ☐ / N ☐ |  |

| SECURITY AND ACCESS |
| --- |
| Item |  | Description of damage |
| Check the condition of the doors and locks of the vault | Y ☐ / N ☐ |  |
| Check for any unauthorized access to the vault | Y ☐ / N ☐ |  |
| Check for any damage to the perimeter fencing or other security features around the vault | Y ☐ / N ☐ |  |

| WATER QUALITY |
| --- |
| Item |  | Description of damage |
| Check the water level inside the vault | Y ☐ / N ☐ |  |
| Check the condition of the water intake and outflow systems | Y ☐ / N ☐ |  |
| Check the quality of the water, including temperature, pH, and dissolved oxygen levels | Y ☐ / N ☐ |  |
| Check for any signs of contamination or pollutants in the water | Y ☐ / N ☐ |  |

| FIRE PROTECTION |
| --- |
| Item |  | Description of damage |
| Check the condition of the fire protection systems in the vault | Y ☐ / N ☐ |  |
| Check the condition of fire extinguishers and other fire suppression equipment | Y ☐ / N ☐ |  |
| Check for any potential fire hazards, such as combustible materials or electrical equipment | Y ☐ / N ☐ |  |

| MONITORING AND CONTROL |
| --- |
| Item |  | Description of damage |
| Check the condition of monitoring and control systems in the vault, including sensors, gauges, and alarms | Y ☐ / N ☐ |  |
| Check for any signs of malfunction or failure of these systems | Y ☐ / N ☐ |  |
| Check for any discrepancies between the monitoring data and the actual conditions inside the vault. | Y ☐ / N ☐ |  |

PHOTOGRAPHS

List of photographs (be sure to date stamp the photos):