POST-EARTHQUAKE INSPECTION CHECKLIST

TANKS/RESERVOIRS

Tank/Reservoir No.:

Location of Tank/Reservoir (County):

Earthquake date:                                 Magnitude:                               Instrumental Intensity at Tank/Reservoir:

Date:

Weather:

Inspected by (Print Name):

OBSERVATIONS, RECOMMENDATIONS AND/OR ACTIONS TAKEN

| ☐ | No Visible Damage |  |
| --- | --- | --- |
| ☐ | Minor Damage |  |
| ☐ | Major Damage |  |

| VISUAL INSPECTION |
| --- |
| Item |  | Description of damage |
| Check for any signs of erosion around the Tank/Reservoir | Y ☐ / N ☐ |  |
| Check for any signs of leakage and spalling, or cracking | Y ☐ / N ☐ |  |
| Check for any cracks in the concrete surrounding the Tank/Reservoir | Y ☐ / N ☐ |  |
| Check the condition of the paintwork and coating conditions | Y ☐ / N ☐ |  |
| Verify the condition of any concrete or metal piping coming from the Tank/Reservoir | Y ☐ / N ☐ |  |
| Check the surrounding area for signs of leakage, erosion, or ground movement | Y ☐ / N ☐ |  |

| DETAILED STRUCTURAL INSPECTION |
| --- |
| Item |  | Description of damage |
| Measure the steel/concrete thickness at various critical points. | Y ☐ / N ☐ |  |
| Inspect welds, joints, and connecting points for integrity | Y ☐ / N ☐ |  |
| Check for cracks, bulging, or distortions in the structure | Y ☐ / N ☐ |  |
| Check for any signs of subsidence or settlement of foundation | Y ☐ / N ☐ |  |

| INTERNAL INSPECTION |
| --- |
| Item |  | Description of damage |
| Check for any signs of erosion inside the Tank/Reservoir | Y ☐ / N ☐ |  |
| Check for sediment build-up, or biofilm inside the Tank/Reservoir | Y ☐ / N ☐ |  |
| Check for the condition of internal coatings or linings | Y ☐ / N ☐ |  |

| ELECTRICAL SYSTEMS |
| --- |
| Item |  | Description of damage |
| Check the condition of the electrical conduit and wiring | Y ☐ / N ☐ |  |
| Verify that all electrical connections are tight and secure | Y ☐ / N ☐ |  |
| Check the condition of the electrical control panel and switches | Y ☐ / N ☐ |  |
| Check the condition of any electrical motors or pumps | Y ☐ / N ☐ |  |
| Check for any potential electrical hazards like exposed wires, faulty equipment, or potential shock hazards | Y ☐ / N ☐ |  |

| MECHANICAL AND OPERATIONAL |
| --- |
| Item |  | Description of damage |
| Verify the condition of the pump and motor | Y ☐ / N ☐ |  |
| Check the condition of any valves, fittings, or couplings | Y ☐ / N ☐ |  |
| Check the condition of any bearings or seals | Y ☐ / N ☐ |  |
| Verify that the pump is capable of producing the required flow rate | Y ☐ / N ☐ |  |

| WATER QUALITY |
| --- |
| Item |  | Description of damage |
| Verify that water quality meets established criteria | Y ☐ / N ☐ |  |
| Check the quality of the water, including temperature, pH, and dissolved oxygen levels | Y ☐ / N ☐ |  |
| Check for any signs of contamination or turbidity | Y ☐ / N ☐ |  |
| Verify that the Tank/Reservoir is properly disinfected and chlorinated | Y ☐ / N ☐ |  |
| Check the water level inside the Tank/Reservoir | Y ☐ / N ☐ |  |
| Check the condition of the water intake and outflow systems | Y ☐ / N ☐ |  |

| SECURITY AND ACCESS |
| --- |
| Item |  | Description of damage |
| Check the condition of the doors and locks of the Tank/Reservoir | Y ☐ / N ☐ |  |
| Check for any unauthorized access to the Tank/Reservoir | Y ☐ / N ☐ |  |
| Check for any damage to the perimeter fencing or other security features around the Tank/Reservoir | Y ☐ / N ☐ |  |

| WATER QUALITY |
| --- |
| Item |  | Description of damage |
| Check the water level inside the Tank/Reservoir | Y ☐ / N ☐ |  |
| Check the condition of the water intake and outflow systems | Y ☐ / N ☐ |  |
| Check the quality of the water, including temperature, pH, and dissolved oxygen levels | Y ☐ / N ☐ |  |
| Check for any signs of contamination or pollutants in the water | Y ☐ / N ☐ |  |

| FIRE PROTECTION |
| --- |
| Item |  | Description of damage |
| Check the condition of the fire protection systems in the Tank/Reservoir | Y ☐ / N ☐ |  |
| Check the condition of fire extinguishers and other fire suppression equipment | Y ☐ / N ☐ |  |
| Check for any potential fire hazards, such as combustible materials or electrical equipment | Y ☐ / N ☐ |  |

| DOCUMENTATION |
| --- |
| Item |  | Description of damage |
| Verify that all maintenance and repair records are up to date | Y ☐ / N ☐ |  |
| Check for any required permits or certificates | Y ☐ / N ☐ |  |
| Verify that the Tank/Reservoir is in compliance with all applicable regulations and standards | Y ☐ / N ☐ |  |
| Check that the Tank/Reservoir is properly labeled and identified | Y ☐ / N ☐ |  |

PHOTOGRAPHS

List of photographs (be sure to date stamp the photos):